**Fluke 1730/1732/1734/1736/1738 比較**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|   |  | **Features /Model noun** | **1730** | **1732** | **1734** | **1736** | **1738** |
|   | Inputs | Inputs (Voltage / Current) | 4/3 | 4/3 | 4/3 | 4/4 | 4/4 |
|   | Aux. analog inputs | 2 | 2 | 2 | 2 | 2 |
|   | Functions | Three Phase Volt, Current, Frequency and Distortion | ● | ● | ● | ● | ● |
|   | Energy & Load Studies | ● | ● | ● | ● | ● |
|   | Trend Graphs | ● | ● | ● | ● | ● |
|   | Power Quality  Surveys (Harmonics, Events, Waveform & Phasor) | - | - | - | ● | ● |
|   | Neutral Current | - | - | - | ● | ● |
|   | Waveform Snapshots | - | - | - | Opt. | ● |
|   | Analysis/ Reporting | Measurement method per IEC61000-4-30 Class S, and 4-7 Harmonics | - | - | - | ● | ● |
|   | PQ Health: Characteristics of Electricity Supply per EN50160  | - | - | - | Opt. | ● |
|   | Harmonic analysis per IEEE 519 Recommended Practices | - | - | - | Opt. | Opt. |
|   | Connectivity Remote Control | USB (mini B) | ● | ● | ● | ● | ● |
|   | WiFi/ BLE Dongle |  - | Opt. | ● | Opt. | ● |
|   | WiFi Direct Point to Point Connection | - | Opt. | ● | ● | ● |
|   | WiFi LAN/WAN Remote Connection (Free, activated with product registration) | - | Opt. | Opt. | Opt. | Opt. |
|   | Accessories | Magnetic Hanger kit |  - | Opt. | ● | Opt. | ● |
|   | 4 x MP1 Magnetic voltage probes |  - | Opt. | ● | Opt. | ● |

**敏盛企業有限公司** TEL：886-3-5970828 Fax：886-3-5972622 [www.mavin.com.tw](http://www.mavin.com.tw/)